Exposure Control Plan

Exposure to Hydrogen Sulfide, Ammonia, and Bioaerosols during the Production and Handling of Mushroom Compost

Employer company information

- Name

- Address

- Contact information (names and phone numbers)

Purpose

- We have a duty to protect our workers from exposure to airborne contaminants during the mushroom composting process. Studies have shown that a number of contaminants can be released during mushroom composting, including hydrogen sulfide (H2S), ammonia (NH3), and bioaerosols, such as fungal spores and bacteria. Effective controls are available to protect workers from exposure to these contaminants.

- We know that a combination of control measures will be required to achieve this objective. We commit to being diligent in our efforts to select the most effective control technologies available and to ensure that the best practices, as described in this exposure control plan (ECP), are followed at our worksite.

- The protective measures and work procedures we establish will protect not only our workers but also all other workers on our site.

Responsibilities

The employer is responsible for the following:

Identify and assess work processes that might lead to worker exposure to airborne contaminants during mushroom composting.

Ensure that the materials (for example, tools, equipment, and personal protective equipment [PPE]) and other resources (for example, worker training) required to fully implement and maintain this ECP are readily available where and when they are required.

Conduct a periodic review (at least annually) of the effectiveness of the ECP. This includes a review of available control technologies to ensure these are selected and used when practical.

Ensure that all required tools, equipment, and PPE are used as required by the ECP.

Ensure that supervisors and workers are educated and trained to an acceptable level of competency.

Maintain records of training, fit-test results, crew talks, and inspections (for example, for equipment, PPE, and work methods or practices).

Investigate all near misses and exposure incidents.

Coordinate work with other employers to ensure a safe work environment, including the following:

  - Inform all subcontractors of the specific hazards on the worksites.

  - Review subcontractor ECPs.

  - Review subcontractor safe work procedures.

  - Ensure that all subcontractors have the proper personal gas monitors and other equipment.

Supervisors are responsible for the following:

Ensure that workers have received adequate instruction on the hazards associated with mushroom composting.

Select and implement the appropriate control measures.

Ensure that workers using respirators have been properly fit-tested and that the results are recorded.

Direct the work in a manner that ensures the risk to workers is minimized and adequately controlled.

Liaise with other employers to ensure a safe work environment.

Ensure that subcontractors are following the proper safe work procedures.

Workers are responsible for the following:

Attend educational sessions provided by the employer.

Use the assigned protective equipment in an effective and safe manner.

Follow established work procedures as directed by the supervisor.

Report any unsafe conditions or acts to the supervisor.

Know how to report exposure incidents.

Risk identification and assessment

- H2S may form and be released when organic material such as manure or vegetable matter breaks down without oxygen. This may happen, for example, in manure tanks, “goody” or brown water tanks, or in composting facilities when insufficient oxygen is present (for example, in straw bales or “ricks”). Workers can be exposed to H2S when they:

- Turn and inspect ricks

- Inspect or clean drainage ditches, sumps, or tanks

- Repair plumb or piping that carries goody or brown water, or fertilizer

- Apply liquid fertilizer to compost

- Sterilize and handle compost before use in a growing operation

Goody or brown water, in particular, can build up significant quantities of dissolved H2S when the water is not sufficiently aerated or circulated.

- Ammonia is produced when high-nitrate organic material, such as mushroom compost, is decomposed by micro-organisms. Workers can be exposed to ammonia when they:

- Turn over composting material

- Inspect or clean drainage ditches, sumps, or tanks

- Repair plumbing or piping that carries goody or brown water or fertilizer

- Apply liquid fertilizer to compost

- Sterilize and handle compost before use in a growing operation

- The term bioaerosols refers to a variety of materials produced by micro-organisms, including bacterial cells, endotoxins, bacterial allergens, fungal spores, hyphae, and fungal allergens. Bioaerosols will always be released during mushroom compost production.

Health hazards

Hydrogen sulfide (H2S) exposure

H2S is a very toxic gas. It has no colour, but it smells like rotten eggs. In larger amounts, H2S quickly blocks the sense of smell — that is why odour should never be used to rate H2S levels.

The gas can irritate the eyes, nose, throat, and lungs. Too much H2S can halt the breathing centre in the brain, which can cause death. It may be possible to revive the victim, but only if first aid is given right away.

Because H2S is heavier than air, it may settle in low spots. This can pose risks when entering areas where the gas may be present.

Ammonia exposure

Ammonia gas is colourless and has a suffocating, pungent, penetrating odour. It is much lighter than air and will collect in high areas or at ceilings.

The gas is very irritating to the eyes, nose, and respiratory system, which makes it easy to detect low concentrations in the air. However, the sense of smell may be significantly reduced if a worker is repeatedly exposed to ammonia.

Ammonia can cause coughing, chest pain, and breathing difficulty. At higher concentrations, it can cause pneumonia, pulmonary edema, and death.

Exposure to bioaerosols

Workers are mainly exposed to bioaerosols through inhalation of airborne spores and allergens.

At lower concentrations, most people do not show significant health effects. Most of the health complaints are upper respiratory in nature, such as coughing, itchy eyes, stuffy nose, sneezing, and sore throat. However, for a person with asthma or a sensitized immune system, health effects can be severe.

At high concentrations, almost all workers will react to the presence of bioaerosols.

Some bacteria and fungi can also cause infections in the lungs or in open wounds.

Exposure limits

- Ammonia — The occupational exposure limits (OELs) are an 8-hour time-weighted average of 25 ppm and a short-term exposure limit (no longer than 15 minutes) of 35 ppm. The immediately dangerous to life and health (IDLH) limit for ammonia is 300 ppm.

- Hydrogen sulfide — The OEL is a ceiling (a value not to be exceeded) of 10 ppm. The IDLH limit for H2S is 100 ppm.

- Bioaerosols — There are currently no OELs in British Columbia for exposure to bioaerosols.

Exposure control

- The Occupational Health and Safety Regulation requires employers to select controls based on the following hierarchy:

- Engineering controls (for example, mechanical ventilation)

- Administrative controls (for example, signage and barriers to keep works away from potentially hazardous areas)

- Personal protective equipment (for example, respirators, gloves, goggles, and coveralls)

- Respirators will be used in conjunction with other controls, such as ventilation, to reduce worker exposure to H2S, ammonia, and bioaerosols.

Acceptable control methods for exposure to H2S, ammonia, and bioaerosols during the production of mushroom compost

- The work methods that appear in the following table are acceptable, provided that the respirator selection and other controls are used.

- The control options must be used to eliminate or reduce the risk to workers of exposure to H2S, ammonia, and bioaerosols.

Acceptable control methods

| Work activity | Controls | Personal protective equipment | Comments |
| --- | --- | --- | --- |
| Wetting straw bales with goody or brown water | Signs warning of potential H2S exposure posted near the work area A wind direction indicator (e.g., windsock) installed near the work area If operation is enclosed (for example, in a barn or shed), use a mechanical ventilation system exhausting through biofilters [must include description of system here]. Floor aeration system for ricks [must include description of system here]. Do not overwater — too much water may create anaerobic conditions and H2S. Wet bales from a distance. Barriers (e.g., warning tape) | H2S and NH3 monitors Half-face respirator with combination P100/multi-purpose gas cartridges for particulates, H2S, and NH3 (for example, North Defender 75SCP100, 3M Multi-G/V/P100, or MSA GME P100 Super Cartridge) Gloves (nitrile or equivalent) Goggles | Monitor high alarms should be set for 10 ppm H2S and 25 ppm NH3. If the monitor alarm sounds, exit the area or vehicle immediately. Check monitor before re-entering the area or vehicle to make sure concentrations have dropped below alarm levels. |
| Loading or unloading bales wetted with goody or brown water from tanks or silos | Signs warning of potential H2S exposure posted near the work area A wind direction indicator (e.g., windsock) installed near the work area Mechanical ventilation system for the tank [must include description of system here]. If natural ventilation is used, the ventilation rate must be determined and the time before entry specified [must specify ventilation time here]. Enclosed cab on straw-moving equipment. Windows must be closed. Barriers (e.g., warning tape) | H2S and NH3 monitors Half-face respirator with combination P100/multi-purpose gas cartridges for particulates, H2S, and NH3 (for example, North Defender 75SCP100, 3M Multi-G/V/P100 or MSA GME P100 Super Cartridge) Gloves (nitrile or equivalent) Goggles | Monitor high alarms should be set for 10 ppm H2S and 25 ppm NH3. If the monitor alarm sounds, exit the area or vehicle immediately. Check monitor before re-entering the area or vehicle to make sure concentrations have dropped below alarm levels. |
| Adding gypsum and poultry litter to straw bales | Signs warning of potential H2S exposure posted near the work area A wind direction indicator (e.g., windsock) installed near the work area If operation is enclosed (for example, in a barn or shed), use a mechanical ventilation system exhausting through biofilters [must include description of system here]. Floor aeration system for ricks [must include description of system here]. Mix thoroughly — avoid clumps of poultry litter and gypsum that could encourage anaerobic activity. Barriers (e.g., warning tape) | H2S and NH3 monitors Half-face respirator with combination P100/multi-purpose gas cartridges for particulates, H2S, and NH3 (for example, North Defender 75SCP100, 3M Multi-G/V/P100 or MSA GME P100 Super Cartridge) Gloves (nitrile or equivalent) Goggles | Monitor high alarms should be set for 10 ppm H2S and 25 ppm NH3. If the monitor alarm sounds, exit the area immediately. Check monitor before re-entering the area to make sure concentrations have dropped below alarm levels. |
| Autoclave operations (large tank used to sterilize straw media): Loading and unloading bales Clearing or closing drains | Signs warning of potential H2S exposure posted near the work area A wind direction indicator (e.g., windsock) installed near the work area Mechanical ventilation system for the tank [must include description of system here]. If natural ventilation is used, the ventilation rate must be determined and the time before entry specified [must specify ventilation time here]. Enclosed cab on straw-moving equipment. Windows must be closed. Barriers (e.g., warning tape) | H2S and NH3 monitors Half-face respirator with combination P100/multi-purpose gas cartridges for particulates, H2S, and NH3 (for example, North Defender 75SCP100, 3M Multi-G/V/P100 or MSA GME P100 Super Cartridge) Gloves (nitrile or equivalent) Goggles | Monitor high alarms should be set for 10 ppm H2S and 25 ppm NH3. If the monitor alarm sounds, exit the area or vehicle immediately. Check monitor before re-entering the area or vehicle to make sure concentrations have dropped below alarm levels. |
| Setting up ricks | Signs warning of potential H2S exposure posted near the work area A wind direction indicator (e.g., windsock) installed near the work area If operation is enclosed (for example, in a barn or shed), use a mechanical ventilation system exhausting through biofilters [must include description of system here]. Floor aeration system for ricks [must include description of system here]. Enclosed cab on rick turning equipment. Windows must be closed. Barriers (e.g., warning tape) | H2S and NH3 monitors Half-face respirator with combination P100/multi-purpose gas cartridges for particulates, H2S, and NH3 (for example, North Defender 75SCP100, 3M Multi-G/V/P100 or MSA GME P100 Super Cartridge) Gloves (nitrile or equivalent) Goggles | Monitor high alarms should be set for 10 ppm H2S and 25 ppm NH3. If the monitor alarm sounds, exit the area or vehicle immediately. Check monitor before re-entering the area or vehicle to make sure concentrations have dropped below alarm levels. |
| Turning ricks | Signs warning of potential H2S exposure posted near the work area A wind direction indicator (e.g., windsock) installed near the work area If operation is enclosed (for example, in a barn or shed), use a mechanical ventilation system exhausting through biofilters [must include description of system here]. Floor aeration system for ricks [must include description of system here]. Enclosed cab on rick turning equipment. Windows must be closed. Barriers (e.g., warning tape) | H2S and NH3 monitors Half-face respirator or full-face respirator with combination P100/multi-purpose gas cartridges for particulates, H2S, and NH3 (for example, North Defender 75SCP100, 3M Multi-G/V/P100 or MSA GME P100 Super Cartridge) Gloves (nitrile or equivalent) Goggles | Monitor high alarms should be set for 10 ppm H2S and 25 ppm NH3. If the monitor alarm sounds, exit the area or vehicle immediately. Check monitor before re-entering the area or vehicle to make sure concentrations have dropped below alarm levels. |
| Inspecting ricks (for example, monitoring temperature changes) | Signs warning of potential H2S exposure posted near the work area A wind direction indicator (e.g., windsock) installed near the work area If operation is enclosed (for example, in a barn or shed), use a mechanical ventilation system exhausting through biofilters [must include description of system here]. Floor aeration system for ricks [must include description of system here]. | H2S and NH3 monitors Half-face respirator with combination P100/multi-purpose gas cartridges for particulates, H2S, and NH3 (for example, North Defender 75SCP100, 3M Multi-G/V/P100 or MSA GME P100 Super Cartridge) Gloves (nitrile or equivalent) Goggles | Monitor high alarms should be set for 10 ppm H2S and 25 ppm NH3. If the monitor alarm sounds, exit the area immediately. Check monitor before re-entering the area to make sure concentrations have dropped below alarm levels. |
| Inspecting biofilter or filter outlets | Signs warning of potential H2S exposure posted near the work area A wind direction indicator (e.g., windsock) installed near the work area Barriers (e.g., warning tape) | H2S and NH3 monitors Half-face respirator with combination P100/multi-purpose gas cartridges for particulates, H2S, and NH3 (for example, North Defender 75SCP100, 3M Multi-G/V/P100 or MSA GME P100 Super Cartridge) Gloves (nitrile or equivalent) | Monitor high alarms should be set for 10 ppm H2S and 25 ppm NH3. If the monitor alarm sounds, exit the area immediately. Check monitor before re-entering the area to make sure concentrations have dropped below alarm levels. |
| Air monitoring for H2S at drains or manholes near the goody or brown water tank | Signs warning of potential H2S exposure posted near the work area A wind direction indicator (e.g., windsock) installed near the work area Barriers (e.g., warning tape) | H2S and NH3 monitors Half-face respirator with combination P100/multi-purpose gas cartridges for particulates, H2S, and NH3 (for example, North Defender 75SCP100, 3M Multi-G/V/P100 or MSA GME P100 Super Cartridge) Gloves (nitrile or equivalent) | Monitor high alarms should be set for 10 ppm H2S and 25 ppm NH3. If the monitor alarm sounds, exit the area immediately. Check monitor before re-entering the area to make sure concentrations have dropped below alarm levels. |
| Entering pump house for goody or brown water | Signs warning of potential H2S exposure posted near the work area A wind direction indicator (e.g., windsock) installed near the work area | H2S and NH3 monitors Half-face respirator with combination P100/multi-purpose gas cartridges for particulates, H2S, and NH3 (for example, North Defender 75SCP100, 3M Multi-G/V/P100 or MSA GME P100 Super Cartridge) Gloves (nitrile or equivalent) | Monitor high alarms should be set for 10 ppm H2S and 25 ppm NH3. If the monitor alarm sounds, exit the area immediately. Check monitor before re-entering the area to make sure concentrations have dropped below alarm levels. Confined space program must be followed if these are confined spaces. |
| Repairs to piping for recycled goody or brown water | Signs warning of potential H2S exposure posted near the work area A wind direction indicator (e.g., windsock) installed near the work area Mechanical ventilation if piping is enclosed [must list fan and ducting specifications here]. Barriers (e.g., warning tape) | H2S and NH3 monitors Full-face respirator with combination P100/multi-purpose gas cartridges for particulates, H2S, and NH3 (for example, North Defender 75SCP100, 3M Multi-G/V/P100 or MSA GME P100 Super Cartridge) Gloves (nitrile or equivalent) | Monitor high alarms should be set for 10 ppm H2S and 25 ppm NH3. If the monitor alarm sounds, exit the area immediately. Check monitor before re-entering the area to make sure concentrations have dropped below alarm levels. Confined space program must be followed if piping is enclosed. |
| Entering goody or brown water tank or pit when tank or pit is not empty (liquid or sludge is present) | Signs warning of potential H2S exposure posted near the work area A wind direction indicator (e.g., windsock) installed near the work area Mechanical ventilation [must list fan and ducting specifications here]. Water should be aerated in order to release trapped gases before entry [must list pump specifications here]. Signage and barriers (warning tape). | H2S and NH3 monitors Full-face respirator with combination P100/multi-purpose gas cartridges for particulates, H2S, and NH3 (for example, North Defender 75SCP100, 3M Multi-G/V/P100 or MSA GME P100 Super Cartridge) Gloves (nitrile or equivalent) | Monitor high alarms should be set for 10 ppm H2S and 25 ppm NH3. If the monitor alarm sounds, exit the area immediately. Check monitor before re-entering the area to make sure concentrations have dropped below alarm levels. Confined space program must be followed if these are confined spaces. |
| Entering leachate (run-off) catchment area when catchment area is not empty (liquid or sludge is present) | Water should be aerated in order to release trapped gases before entry [must list pump specifications here]. Barriers (e.g., warning tape) | H2S and NH3 monitors Half-face respirator with combination P100/multi-purpose gas cartridges for particulates, H2S, and NH3 (for example, North Defender 75SCP100, 3M Multi-G/V/P100 or MSA GME P100 Super Cartridge) | Monitor high alarms should be set for 10 ppm H2S and 25 ppm NH3. If the monitor alarm sounds, exit the area immediately. Check monitor before re-entering the area to make sure concentrations have dropped below alarm levels. |
| Inspection of tunnels, bunkers, or ponds | Signs warning of potential H2S exposure posted near the work area A wind direction indicator (e.g., windsock) installed near the work area Mechanical ventilation [must list fan and ducting specifications here]. Barriers (warning tape) | H2S and NH3 monitors Full-face respirator with combination P100/multi-purpose gas cartridges for particulates, H2S, and NH3 (for example, North Defender 75SCP100, 3M Multi-G/V/P100 or MSA GME P100 Super Cartridge) Gloves (nitrile or equivalent) | Monitor high alarms should be set for 10 ppm H2S and 25 ppm NH3. If the monitor alarm sounds, exit the area immediately. Check monitor before re-entering the area to make sure concentrations have dropped below alarm levels. Confined space program must be followed if these are confined spaces. |
| Removing compost from Phase 1 before sterilization and conditioning | Signs warning of potential H2S exposure posted near the work area A wind direction indicator (e.g., windsock) installed near the work area Enclosed cab on compost-moving equipment. Windows must be closed. Barriers (warning tape) | H2S and NH3 monitors Half-face respirator or full-face respirator with combination P100/multi-purpose gas cartridges for particulates, H2S, and NH3 (for example, North Defender 75SCP100, 3M Multi-G/V/P100 or MSA GME P100 Super Cartridge) Gloves (nitrile or equivalent) Goggles | Monitor high alarms should be set for 10 ppm H2S and 25 ppm NH3. If the monitor alarm sounds, exit the area or vehicle immediately. Check monitor before re-entering the area or vehicle to make sure concentrations have dropped below alarm levels. |
| Sterilizing compost (using steam or NH3 method) in a room or closed vessel or container | Signs warning of potential H2S exposure posted near the work area A wind direction indicator (e.g., windsock) installed near the work area Mechanical ventilation system for the room/vessel/container [must include description of system here]. If natural ventilation is used, the ventilation rate must be determined and the time before entry specified [must specify ventilation time here]. Room/tank/vessel must be ventilated before entry. Enclosed cab on compost-moving equipment. Windows must be closed. Barriers (warning tape) | H2S and NH3 monitors Half-face respirator with combination P100/multi-purpose gas cartridges for particulates, H2S, and NH3 (for example, North Defender 75SCP100, 3M Multi-G/V/P100 or MSA GME P100 Super Cartridge) Gloves (nitrile or equivalent) Goggles | Monitor high alarms should be set for 10 ppm H2S and 25 ppm NH3. If the monitor alarm sounds, exit the area or vehicle immediately. Check monitor before re-entering the area or vehicle to make sure concentrations have dropped below alarm levels. |
| Unloading fresh compost at growing operations | Signs warning of potential H2S exposure posted near the work area A wind direction indicator (e.g., windsock) installed near the work area Enclosed cab on compost-moving equipment. Windows must be closed. Barriers (warning tape) | H2S and NH3 monitors Half-face respirator or full-face respirator with combination P100/multi-purpose gas cartridges for particulates, H2S, and NH3 (for example, North Defender 75SCP100, 3M Multi-G/V/P100 or MSA GME P100 Super Cartridge) Gloves (nitrile or equivalent) Goggles | Monitor high alarms should be set for 10 ppm H2S and 25 ppm NH3. If the monitor alarm sounds, exit the area or vehicle immediately. Check monitor before re-entering the area or vehicle to make sure concentrations have dropped below alarm levels. |

Respirators

- Each worker will be fit-tested if a respirator is required.

- If a worker is required to wear a respirator that requires an effective seal with the face for proper functioning, the worker must be clean-shaven where the respirator seals with the face.

- When the worker notices a resistance to breathing or a sudden odour, the respirator filters must be replaced.

- Respirators will be used, cleaned, and stored in accordance with the respirator program.

Other PPE and hygiene

- Workers will wear coveralls (for example, washable cotton or disposable Tyvek-type coveralls). These coveralls will be laundered and changed (or disposed of) regularly. Workers will not wear them outside the work area. For example, workers must remove coveralls before eating lunch.

- Workers will wear other PPE (for example, protective eyewear, hearing protection, safety footwear, hard hats, or high-visibility vests) as required.

- Personal gas monitors must be bump tested before use.

Safe work planning

- Work from the Acceptable Control Methods table included in this exposure control plan.

- Establish a barrier (for example, warning tape) around the work zone to restrict access by unprotected workers.

- Inspect all equipment and tools to make sure they are in good working order.

- Use and maintain all tools and equipment as specified by the manufacturer.

- Ensure that workers inspect their respirators before work begins.

- If the work involves a confined space (for example, a pump house or tank), then the confined space program must be followed.

Cleanup and decontamination

- Use a wash bucket and wet cloths to wipe any potentially contaminated exposed skin area (for example, your forehead and cheeks).

- Remove and clean respirators. Use duct tape to cover cartridge inlets.

- Wash your face, then your hands.

Worker training for H2S, ammonia, and bioaerosols exposure

- Training will be performed by the employer or the employer’s designate.

- Records of attendance, dates of training, and training material will be documented and retained.

- Additional training or reference material on exposure to H2S, ammonia, and bioaerosols will be made available to employees upon request.

- Training topics:

- Health hazards of exposure to H2S (e.g., Enform’s H2S Alive course), ammonia, and bioaerosols.

- Operations and materials that can produce H2S, ammonia, and bioaerosols.

- Engineering controls and safe work practices used to protect workers.

- The importance of proper equipment control and maintenance.

- Proper use of personal monitoring equipment, including bump testing.

- Proper use of respirators and the respirator program.

- Personal hygiene procedures to reduce exposures.

- The details of the exposure control plan.

- The details of the confined space program.

Health surveillance

- Workers will receive regular medical examinations from their family physicians. These examinations may include lung function testing.

- Workers will report any symptoms of exposure to the employer and WorkSafeBC for tracking and investigation.

Annual review

- This exposure control plan will be reviewed at least annually and updated as necessary by the employer, in consultation with the workplace joint health and safety committee or the worker health and safety representative.